[image: image2.jpg]—ULEX

European Union Rule of Law Mission

Kosovo





European Union Rule of Law Mission in Kosovo 
EULEX Kosovo

Ndertesa Farmed 

“Muharrem Fejza” p.n.

Lagja e Spitalit

10000 Pristina, Kosovo

Tel: +(381) 38 222 010 2000

www.eulex-kosovo.eu
CLARIFICATIONS (4)

PUBLICATION REFERENCE: EuropeAid/128855/D/SUP/KOS.
Supply of Fire Protection and Safety Equipment
1.  Questions regarding Technical Specifications

	Question

No
	Lot No
	Question
	Answer

	1
	Lot 1 / Item 10
	Smoke detector - Ionisation Smoke Alarm (long life lithium batteries)

i) Can you explain to us requirement: 10 Year sealed lithium long life battery?

ii) Please let us know that alarms will be used indoor our outdoor?
	i) 10 Year sealed lithium long life battery - Smoke detector with long life battery up to 10 years.

ii) Alarms will be used indoor only. All alarms are battery operated only (stand alone) 



	2
	Lot 1/ Item 11
	Smoke detector - Optical Smoke Alarm (long life lithium batteries)
i) Can you explain to us requirement: 10 Year sealed lithium long life battery

ii) please let us know that alarms will be used indoor our outdoor
	i) 10 Year sealed lithium long life battery - Smoke detector with long life battery up to 10 years.

ii) Alarms will be used indoor only. All alarms are battery operated only (stand alone) 


	3
	Lot 2 / Item 5
	Oil Absorber pads      

Qty: 100 Does this means that you required only 1 set of 100 pads or 100 sets of 100 pads?

                                 
	1 set of 100 Pads. (it can be also 2 sets of 50 pads etc)

	4
	Lot 2 / Item 7
	Portable Fire extinguisher trainer - LPG including propane tank                                                          
Please let us know capacity of the tank?

	Training Pen capacity: L x W x H = 125 x 85 x 50 cm. 
Deflections up to 30% is accepted. 
Propane tank capacity: Up to 50ltr LPG
 

	5
	Lot 2 / Item 14
	Multi gas monitor
i) Please specify more details for gases to be detected?

ii) From the Clarification No 2 you wrote as an answer point 8 :  ii) “Monitors from one to six gases simultaneously and continuously,”meaning simultaneously detects different gases, and continuously displays all gases monitored.
We would like you to confirm that if we offer a Multi Gas Detector which can detect those 4 gases (Monitor of: Oxygen (O2), CarbonMonoxide (CO), Hydrogen Sulfide (H2S),Combustible gases (LEL)) will be acceptable?


	i) Monitors from one to six gases is preferable. 
Multi Gas Detector which can detect and monitor only 4 gases: Oxygen (O2), Carbon Monoxide (CO), Hydrogen Sulfide (H2S), Combustible gases (LEL) - is acceptable
ii) Monitors from one to six gases is preferable. Multi Gas Detector which can detect and monitor only 4 gases: Oxygen (O2), Carbon

Monoxide (CO), Hydrogen Sulfide (H2S), Combustible gases (LEL) - is acceptable. 



	6
	Lot 2/ Item 18 
	Fire extinguisher seal            

Do you confirm from the picture below that it is the item you are looking for?

[image: image1]
                             
	Yes, the picture shows fire extinguisher seals. 



	6
	Lot 2/ Item 18 
	Please refer to corrigendum number 2.  
                             
	Quantities were amended, 500 seals are finally required and no more 5 as initially specified.


2.  Questions regarding Instructions to Tenderers. 

	Question

No
	Lot No
	Question
	Answer

	1
	N/A
	1. In the technical offer, do we need to include the agreement signed between the Contractor and the Subcontractor or it is required only and if the Contractor will win the tender.

2. In the case we need to submit the agreement between the Contractor and the Subcontractor, there is any specific template to be used or we are free to use ours.
3. In Annex I "General Conditions", Art. 6 - Subcontracting, it is indicated that the Contractor shall not subcontract without the prior written authorization of the Contracting Authority. The elements of the contract to be subcontracted and the identity of the subcontractors shall be notified to the Contracting Authority. The CA shall notify the Contractor of its decision within 30 days of receiving the notification, stating its reasons if authorization is withheld (Art. 6.2).

My Question is if we need to have the authorization by the Contracting Authority before submitting the tender or we need it only in the case we win the tender. 


	1.  For tenderers intending to subcontract tasks the tenderer shall include at the time of submission of the offer a statement regarding the content and extent of subcontracting envisaged. 

The statement shall also indicate the identity and country of origin of the sub contractor in accordance with article 3.3. of the instructions to tenderers. 

2. The agreement between the Contractor and the Subcontractor may be supplied on free format. 

3. Tenderers, at this stage are just required to submit with their offer,   the above mentioned statement. 

No such authorization from the Contracting Authority is required before the submission of tenders.


EoT






PAGE  
Page 1 of 3

[image: image3.emf]