[image: image1.jpg]—ULEX

European Union Rule of Law Mission

Kosovo





European Union Rule of Law Mission in Kosovo EULEX Kosovo

Ndertesa Farmed 
“Muharrem Fejza” p.n.
Lagja e Spitalit 

10 000 Pristina, Kosovo
Tel: + (381) 38 222 010 2000

http://www.eulex-kosovo.eu
CLARIFICATIONS (4)
PUBLICATION REFERENCE: EuropeAid/129069/D/SUP/KOS
Supply of building maintenance tools 
1. Questions regarding technical specifications   

	No
	Question
	Answer

	1
	Item 335  Hydraulic crimping pliers 16 mm² - 350 mm²
please indicate requested size of crimping dies as well as number of requested dies
	size of crimping dies: 16,25,35,50,70,95,120,150,185,240,300 – one pair for each size.

	2
	Item 337
Please indicate drilling range of the requested step drill   1 1/8" as well as requested shaft Ø
	Drilling range 1/4 to 1-3/8 Inch in 1/8 Inch Increments, shaft diameter 3/8.

	3
	Request items 174 - 180 to be compliant with item no. 139.
In fact item 174, 175, 176 and 177 comply to item 139 ( cross cut saw with blade dia. 210 mm)
However, item 178, 179 and 180 request saw blades with diameter 315 mm and subsequently they should be compliant with item no. 140. PLEASE CONFIRM!
	Confirmed.








PAGE  
Page 1 of 1

