[image: image1.jpg]—ULEX

European Union Rule of Law Mission

Kosovo





European Union Rule of Law Mission in Kosovo EULEX Kosovo

Ndertesa Farmed 

“Muharrem Fejza” p.n.

Lagja e Spitalit 

10 000 Pristina, Kosovo
Tel: + (381) 38 222 010 2000

http://www.eulex-kosovo.eu
CLARIFICATIONS (4)
PUBLICATION REFERENCE: EuropeAid/129097/D/SUP/XK

Supply of Communication Tools, Equipment and Software
1. Questions regarding Technical Specifications   
	No
	Question
	Answer

	1
	Lot 2: Item 1 5Khz to 20Ghz Vector Network Analyzer
Tender requires two power measurement options: Power monitor option, 1
MHz to 20 GHz and High accuracy power meter option, 50 MHz to 18 GHz. Since
these two options practically duplicate the same function, we believe that
High accuracy power meter option with corresponding power sensor (up to
18GHz on N-connector or up to 26 GHz on K-connector) covers all your needs
and you do not need additional Power monitor option. Can you, please,
comment on this?


	Yes.

	2
	Lot 2: Item 1 5Khz to 20Ghz Vector Network Analyzer

Whatever your decision on above power measurement will be, please confirm
that in any case power sensors/detectors have to be offered together with
corresponding power measurement option (power measurement requires, namely,
power sensor)
	Confirmed

	3
	Lot 2: Item 1 5Khz to 20Ghz Vector Network Analyzer

Tender requirement: Supports waveguide measurements, and SOLT, SSLT and
SST calibrations.
Question a): 

is it enough to offer N-calibration kit covering frequency band
up to 18 GHz (SOLT calibration)?


	Yes

	
	Question b): 

SSLT and SST calibrations are applicable for waveguide
measurements. Do you need also calibration components for waveguide
calibration? If so, please specify the required frequency band(s) and
waveguide/flange type(s).


	No

	4
	Lot 4 the asked equipment is Thuraya XT if we are correct (this is the only satellite telephone that fits the specification).

If this is correct there is a problem with Item 4, the Indoor Fixed Unit.

As of today there is no such unit with a 25 meter antenna cable.

This option is only available for the older models SO-2510 and SG-2520.

The only option for the Thuraya XT is a regular 10 meter cable which is the maximum length.

So the real question is if we can offer the Indoor Fixed Unit with the 10 meter antenna cables since there is no other alternative.

Could you please clarify?


	 Confirmed 10m cable for both Sat and GPS antenna. Please refer to corrigendum number 1. 

	5
	Lot 1: Item 4- Discrete earpiece kit 
(Must be compatible with a Motorola GP380 )                                                                 

· BDN6667A -2-Wire Surveillance Kit 

· MDPMLN4455B, 35.mm adapter

· RLN6232, acoustic tube

Lot 1: Item 5- Discrete earpiece kit 
(Must be compatible with a Motorola GP380 ) 
· BDN6668A -3-Wire Surveillance Kit 

· MDPMLN4455B, 35.mm adapter

· RLN6232, acoustic tube
Lot 1:Item 16- Remote Speaker/Microphone 
(Must be compatible with a Motorola GP380 ) 
· Integrated VHF Antenna

· Swivel clip

· Volume toggle switch
· 3.5mm earpiece jack

Question: Items are used with public safety radios hence they are not compatible with Motorola GP 380. 

    
	Items must be compatible with GP380

	6
	Lot 1, item  1 Radio Wideband ReceiverlScannera.

Should the digitol voice recorder be built-in receiver/scanner or it may be PC-based?


	Built in. 

	
	The receiver/scanner should be bose station or it may be also handheld?
	Base station.

	7
	Lot 8, item no.2, 3 and 4-

May we offer one programming software which is capable to program handheld, base

and mobile radios including proper programming cables, instead of request for 19 pcs?
	Yes.

	8
	Lot 8, item no. 2, 3 & 4-

For base and vehicle (mobile) radio stations, may we offer handheld model including base station mounting kit, respectively, vehicle station mounting kit?
	Yes

	9
	Lot 5: item 1: Video Tele-Conference System, there is not specified any connection type you prefer to use or licenses.
Question 1: How many sites you plan to involve on single Video-Conferencing session using these equipments?
	Each unit for Line 1, should have a multi-site license to support a conference of up to 6 sites 

	
	Question 2: Do you consider Multisite License as mandatory to be included in the offer?


	Yes

	10
	Lot 5 item 2.: Portable Tele-Presence Video Conference System, we see necessary to know how you plan to use these equipment.

Question 1: How many sites do you plan to involve on single session using these equipments?


	Each unit for Line 2, should have a multi-site license to support a conference of up to 4 sites

	
	Question 2: What type of connection you plan to use, Point-to-Point (maximum 2 sites involved on single session) or Multisite (more than 2 sites)?
	Multi-site

	
	Question 3: Do you consider Multisite License as mandatory to be included in the offer?


	Yes

	11
	Lot 8 item No. 1: GSM Frequency Jammer, 

Question 1: Power control: 10W/20W/30W/40W with digital display as specified in ANNEX II + III: TECHNICAL SPECIFICATIONS. 

Could the option be acceptable as follows - Power control: 10W/20W/30W/40W to be by hand in adjustable steps of 30dB, not by computer. Remark to this question is that this is done once by installation, and setting of the jamming range of the static unit.
	Yes

	12
	Lot 4 items No 4 and 5: Indoor Fixed docking unit and Vehicle Docking Unit/Adaptor

With what system should these items be compatible? 
	The items must be compatible with Thuraya Hughes 7101. 








PAGE  
Page 1 of 5

