[image: image1.jpg]—ULEX

European Union Rule of Law Mission

Kosovo





European Union Rule of Law Mission in Kosovo 
EULEX Kosovo

Ndertesa Farmed 

“Muharrem Fejza” p.n.

Lagja e Spitalit

10000 Pristina, Kosovo

Tel: +(381) 38 222 010 2000

www.eulex-kosovo.eu
CLARIFICATIONS (4)

PUBLICATION REFERENCE: EuropeAid/128790/D/SUP/KOS - Framework Contract for the Supply of Microwave Equipment and Telecommunications Towers
1. Questions regarding Technical Specifications

	Question

No
	Lot No
	Question
	Answer

	1.
	Lot 4: Telecommunication

Shelters

	Regarding Internal 19” Communications rack please provide us information about required dimension (H x L)?

	42 RU capacity required.

	2.
	Lot 4: Telecommunication

Shelters

	How many chassis slots should Internal 19” Communications rack have?


	42 RU capacity required.

	3.
	Lot 4: Telecommunication

Shelters

	Is power distribution board required for the telecommunication shelter?


	No.

	4.
	Lot 4: Telecommunication

Shelters

	Concerning external lighting, please clarify,  should it be activated by sensor or light switch?

	Switch.

	5.
	Lot 4: Telecommunication

Shelters

	Please define number of required cable access points?

	One cable access point.

	6.
	Lot 4: Telecommunication

Shelters

	Regarding cable access point type please answer if it should be realize as a cable terminal?
	No.

	7.
	Lot 4: Telecommunication

Shelters

	Is a wall cable inlet “BST “required? If yes, with how many inputs (enters) it should be designed and for which type of cable? 
	10 Minimum, LDF450 HELIAX.

	8.


	Lot 4: Telecommunication

Shelters

	Please provide us with more details regarding Internally installed N-Type bulkhead grounding bar?

	Solid copper construction, pre-drilled x10 holes for fixing x10 N-type surge arrestors.

	9.
	Lot 4: Telecommunication

Shelters

	Are cable traces required for cable leading?


	No.

	10.
	Lot 4: Telecommunication

Shelters

	Is PVC cable trucking required and with what dimension?


	Not required.

	11.
	Lot 4: Telecommunication

Shelters

	Is an electrical outlet required? If yes please define the number of the outlets and their position?

	Minimum 4 outlets.

	12.
	Lot 4: Telecommunication

Shelters

	Providing of building design for equipment layout will be much appreciated?

	No diagram available.

	13.


	Lot 2: Narrowband

Microwave

Equipment


	Item 10: Space Diversity Link, qty.2, please clarify whether whole links are required or just MHSB Controllers with cables? Consequently, will the required MHSB controllers going to be integrated with one of the required link described in Item 1 and Item 2?


	Only RF switch and Trib switch required, to be supplied with cables.








PAGE  
Page 2 of 2

