Corrigendum No 3 to the Technical Specifications.

Supply of Veterinary Equipment to EULEX 
PROC/117/09/Veterinary Equipment and EuropeAid/128823/C/SUP/KOS
The following amendments were made to the “Technical Specifications” Annex II + III of the tender dossier. 
The Technical Evaluation of the tenderers’ offers will be made on the basis of these amended Technical Specifications.

LOT 2: Specialized Veterinary Equipment 
LOT 2: (Item 1 to 16) Anaesthetic Equipment: please omit the reference to “Item No. 4 Isofluorane gas” as it is does not need to be provided any more.
Therefore in the final specifications:

“Item No. 4 Isofluorane gas is NO MORE REQUIRED”.
Lot 4: Surgical Instruments & Autoclave Equipment
Item No. 3 Artery Forceps: please omit the reference to “Spencer Wells curved forceps 15cm” as it is incorrect. 
Therefore the final specifications should read as follows:
“Are required Spencer Wells curved forceps 15cm (+ or – 3 cm)”.
Lot 4: Surgical Instruments & Autoclave Equipment
Item No. 4 Artery Forceps: please omit the reference to “Spencer Wells straight forceps 15cm” as it is incorrect. 
Therefore the final specifications should read as follows:
“Are required Spencer Wells straight forceps 15cm (+ or – 2 cm)”.
Lot 4: Surgical Instruments & Autoclave Equipment
Item No. 5 Artery Forceps: please omit the reference to “Rochester Pean curved forceps 19cm” as it is incorrect. 
Therefore the final specifications should read as follows:
“Are required Rochester Pean curved forceps 19cm (+ or – 2 cm)”.
Lot 4: Surgical Instruments & Autoclave Equipment
Item No. 6 Artery Forceps: please omit the reference to “Rochester Pean straight forceps 19cm” as it is incorrect. 
Therefore the final specifications should read as follows:
“Are required Rochester Pean straight forceps 19cm (+ or – 2 cm)”.
Lot 4: Surgical Instruments & Autoclave Equipment
Item No. 15 Needleholders: please omit the reference to “Olsen-Hagar 16cm (+ or – 0.5 cm)” as it is incorrect. 
Therefore the final specifications should read as follows:
“Are required Olsen-Hagar 16cm (+ or – 2 cm)”.
Lot 4: Surgical Instruments & Autoclave Equipment
Item No. 16 Scissors: please omit the reference to “Dressing blunt/blunt curved 12.7cm (+ or- 0.5cm)” as it is incorrect. 
Therefore the final specifications should read as follows:
“Are required dressing blunt/blunt curved 12.7cm (+ or – 2 cm)”.
Lot 4: Surgical Instruments & Autoclave Equipment
Item No. 17 Scissors: please omit the reference to “Dressing sharp/blunt straight 15.2cm (+ or- 0.5cm)” as it is incorrect. 
Therefore the final specifications should read as follows:
“Are required dressing sharp/blunt straight 15.2cm (+ or – 2 cm)”.
Lot 4: Surgical Instruments & Autoclave Equipment
Item No. 18 Scissors: please omit the reference to “Dressing sharp/sharp straight 15.2cm (+ or- 0.5cm)” as it is incorrect. 
Therefore the final specifications should read as follows:
“Are required dressing sharp/sharp straight 15.2cm (+ or- 2 cm)”.
Lot 5:  Miscellaneous Veterinary Equipment 
Item No. 14 Surgical operating table: please omit the reference to “Dimensions of table; at least 60cm x 130cm” as it is incorrect.
Therefore the final specifications should read as follows:
“Surgical operating table required dimensions at least 60X120 and not 60X130”.
Lot 5:  Miscellaneous Veterinary Equipment 
Item No. 18 Electronic walk-on digital scales: please omit the reference to “The graduation/increment should < or = to 50g” as it is incorrect.
Therefore the final specifications should read as follows:
“The graduation/increment should < or = to 100 gr”.
Lot 5:  Miscellaneous Veterinary Equipment 
Item No. 21 Infusion Pumps: please omit the reference to “infusion lines must be >or= 2.4 metres in length” as it is incorrect.
Therefore the final specifications should read as follows:
“Infusion lines must be > or = 2 metres in length”.
Lot 5:  Miscellaneous Veterinary Equipment 
Item No. 10 Stomach tube: please omit the reference to “Dimensions: Medium 16mm OD 270cm” as it is incorrect.
Therefore the final specifications should read as follows:
“Must be plastic. Dimensions: 23 French gauge, length from 700mm (minimum) to 950 mm (maximum)”.   See picture.
Lot 5:  Miscellaneous Veterinary Equipment 
Item No. 11 Stomach tube: please omit the reference to “Dimensions: Large 19mm OK 300cm” as it is incorrect.
Therefore the final specifications should read as follows:
“Must be plastic. Dimensions: 35 French gauge, length from 700mm (minimum) to 950 mm (maximum)”. See picture.
     
The picture refers to Item 10 and Item 11 
of Lot 5: Miscellaneous Veterinary Equipment
