[image: image1.jpg]—ULEX

European Union Rule of Law Mission

Kosovo





European Union Rule of Law Mission in Kosovo 

EULEX Kosovo

Ndertesa Farmed 

“Muharrem Fejza” p.n.

Lagja e Spitalit

10000 Pristina, Kosovo

Tel: +386 (0)43 78 2000

www.eulex-kosovo.eu
CORRIGENDUM No.2
PUBLICATION REFERENCE: PROC/245/10/New Heating System (EuropeAid/131122/M/WKS/XK)
Modifications were made to the Bill of Quantity . Tenderers are accordingly asked to use the final “Bill of Quantity” with reference “29/04/2011 Consolidated BoQ”. 

The initial Bill of quantity was deleted from the EULEX website and should be ignored by the tenderers.  

Here is a summary of the changes that were introduced. Changes have also been highlighted in red within the Bill of Quantity
· A1. BOILER ROOM, Item number I.27.
The description and the quantity were as below:



	I.27
	Chimney 250mm double wall d= 25mm , thermoisolation with Al-0,55mm
	piece
	6




The description and the quantity shall now read:


	I.27
	Chimney 250mm double wall d= 25mm , thermoisolation with Al-0,55mm, complete including all required fittings.
	piece
	2




All other terms and conditions of the Tender Dossier remain unchanged. The above alteration and correction to the Tender Dossier is integral part of the Tender Dossier.

EoT
PAGE  
1

_1365573508.unknown

_1365518529.unknown

