European Union Rule of Law Mission in Kosovo

EULEX Kosovo

Ndertesa Farmed

“Muharrem Fejza” p.n.

Lagja e Spitalit

10000 Pristina, Kosovo

www.eulex-kosovo.eu

- CORRIGENDUM NUMBER 1

- TO THE TENDER DOSSIER

- PUBLICATION REFERENCE: PROC/873/19/Supply of Construction Materials no.7 - Electrical Material (Europeaid/140247/ID/SUP/XK)

The following corrections are made to the Technical Specifications

- The former text:

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| CABLES |  |  |  |  |
| 1 | CABLE H 0 5 VV-F 3X2.5 MM2 FLEXIBLE-Cu QTY: 200 m |  |  |  |
| 2 | CABLE H 0 5 VV-F 5X2.5 MM2 FLEXIBLE-Cu QTY: 400 m |  |  |  |
| 3 | CABLE H 0 5 VV-F 5X16 MM2 FLEXIBLE-Cu QTY: 10 m |  |  |  |
| 4 | CABLE H 0 5 VV-F 4X150 MM2 FLEXIBLE-Cu QTY: 10 m |  |  |  |
| 5 | CABLE_NYM-J_(PPY CABLE) 5X2.5 MM2_RIGID-Cu QTY: 400 m |  |  |  |
| 6 | CABLE_NYM-J_(PPY CABLE) 5X6 MM2_RIGID –Cu QTY: 200 m |  |  |  |
| 7 | POWER CABLE_NYY-J_5X10MM2_Cu QTY: 20 m |  |  |  |
| 8 | POWER CABLE_NYY-J_4X16 MM2 Cu QTY: 20 m |  |  |  |
| 9 | POWER CABLE_NYY-J_4X50MM2-Cu QTY: 10 m |  |  |  |
| 10 | CABLE_H 07 V-K_ 6MM2_SINGLE WIRE_FLEXIBL BLACK/BLUE/YELLOW-GREEN-Cu QTY: 100 m |  |  |  |
| 11 | CABLE_H 07 V-K_ 70MM2_SINGLE WIRE_FLEXIBLE_YELLOW-GREEN-Cu QTY: 100 m |  |  |  |
| 12 | SELF REGULATING HEATING CABLE-230V- POWER 20 - 25 W/m QTY: 200 m |  |  |  |
| CABLE LUGS |  |  |  |  |
| 13 | CABLE LUG_ 2.5MM2_RING_N8_CU_CRIMPING TYPE_INSULATED_BLUE QTY: 20 ea |  |  |  |
| 14 | CABLE LUG_ 50MM2_RING_N10_CU_CRIMPING TYPE_UNINSULATED QTY: 20 ea |  |  |  |
| CIRCUIT BREAKERS/RESIDUAL CURRENT CIRCUIT BREAKERS/INDUSTRIAL FUSE, (MANUFACTURER ABB-HAGER OR EQUIVALENT) |  |  |  |  |
| 15 | MOLDED CASE CIRCUIT BREAKER, 4POLE ,160A QTY: 2 ea |  |  |  |
| 16 | RESIDUAL CURRENT CIRCUIT BREAKER - FID 4 POLE 63A/0.500mA QTY: 4 ea |  |  |  |
| 17 | CIRCUIT BREAKER_MINIATURE_MCB_1-POLE_ 25A_TYPE C QTY: 60 ea |  |  |  |
| 18 | CIRCUIT BREAKER_MINIATURE_MCB_1-POLE_ 40A_TYPE C QTY: 60 ea |  |  |  |
| 19 | CIRCUIT BREAKER_MINIATURE_MCB_3-POLE_ 63_TYPE C QTY: 50 ea |  |  |  |
| 20 | FUSE_INDUSTRIAL KNIFE_gL-gG_500V_ 160A_NH00 QTY: 12 ea |  |  |  |
| 21 | FUSE_INDUSTRIAL KNIFE_gL-gG_500V_ 400A_NH2 QTY: 12 ea |  |  |  |
| 22 | BUSBAR SUPPORT FOR CIRCUIT BREACKERS_3 CONDUCTOR SYSTEM_CU -1 m QTY: 10 ea |  |  |  |
| FUSE BASE /FUSE HOLDERS |  |  |  |  |
| 23 | NH FUSE SWITCH DISCONNECTOR,63A,3 POLE,CONNECTION TOP OR BOTTON GY ROTATING QTY: 2 ea |  |  |  |
| 24 | RAIL_DIN_"TOP HAT"-PROFILE_PLAIN_IN 1MTR LENGTH QTY: 10 ea |  |  |  |
| MANUFACTURER (ABB OR EQUIVALENT) |  |  |  |  |
| 25 | CONTACTOR 3 POLE ,COIL CONTACTOR, 16A- 230V/AC QTY: 10 ea |  |  |  |
| 26 | CONTACTOR 3 POLE 2NO/2NC,COIL CONTACTOR, 25A- 230V/AC QTY: 4 ea |  |  |  |
| 27 | CONTACTOR 3 POLE 2NO/2NC,COIL CONTACTOR,800A- 230V/AC QTY: 2 ea |  |  |  |
| 28 | OVERLOAD RELAY_FOR CONTACTOR_3-POLE_16-32A QTY: 2 ea |  |  |  |
| SOCKET/PLUGS |  |  |  |  |
| 29 | ELECTRIC SOCKETS-DOUBLE -230 VOLT 16 A.FOR MOUNTING OF PVC OPTILINE TRUNKING COMPLETE WITH FRONT PLATE QTY: 10 ea |  |  |  |
| 30 | SOCKET FLUSH SINGLE 220V -16A QTY: 50 ea |  |  |  |
| 31 | SOCKET_ STANDARD_2P+E_230V_SINGLE_ROUND_ SURFACE MOUNT QTY: 200 ea |  |  |  |
| 32 | SOCKET_INDUSTRIAL_3P+N+E_32A_400V_RED_SURFACE MOUNT_IP44 QTY: 20 ea |  |  |  |
| 33 | SOCKET_INDUSTRIAL_3P+N+E_63A_400V_RED_FREE_STRAIGHT_IP44 QTY: 20 ea |  |  |  |
| 34 | SOCKET_STANDARD_2P+E_230V_DOUBLE_SURFACE MOUNT_WHITE QTY: 200 ea |  |  |  |
| 35 | PLUG_ STANDARD_2P+E_230V_WHITE -16A QTY: 100 ea |  |  |  |
| 36 | PLUG_INDUSTRIAL_3P+N+E_63A_400V_ROUND_RED_FREE_STRAIGHT_IP44 QTY: 4 ea |  |  |  |
| 37 | PLUG_RELAY SOCKET 11PIN ROUND PIN QTY: 10 ea |  |  |  |
| DISTRIBUTION FUSE BOX & CONNECTION BOX |  |  |  |  |
| 38 | DISTRIBUTION BOX PVC 24 MCB SURFACE WALL MOUNTED QTY: 2 ea |  |  |  |
| 39 | DISTRIBUTION PANEL,POLYSTER,60X40X20CM,1 DOOR,WATER PROOF,SURFACE WALL MOUNTED QTY: 2 ea |  |  |  |
| 40 | CONNECTION BOX_240X190X90MM_GREY PVC_WIT SCREW ON TR. LID & PG KNOCKOUTS_IP55_COMPLETE WITH CLANDS QTY: 40 ea |  |  |  |
| LIGHT FITTINGS/LIGHT TUBES/LIGHT BULBS/LIGHT BALLAST/STARTERS, (MANUFACTURER, OSRAM-EGLO OR EQUIVALENT) |  |  |  |  |
| 41 | PANEL LED DALI 600 40 W 4000 K Nominal wattage 40.00 W, Operating mode Electronic control gear (ECG). Nominal voltage 220…240 V Mains frequency 50/60 Hz Power factor λ >0.90. Color temperature 4000 K, Color rendering index Ra >80. Light color (designation) Cool White Luminous flux 4000 lm Luminous efficacy 100 lm/W. Standard deviation of color matching ≤6 sdcm. Beam angle 120 °. Dimension & Weight: L 595.0 mm W 595.0 mm H 10.5 mm Product weight 3250.00 g. Product color White, Body material Aluminum, Lifespan L90 at 25 °C 20000 h. Number of switching cycles 25000, Mounting type Recessed/Suspended/Surface. Type of protection IP20, Protection class II, Protection class IK (shock resistance) IK06, Glow Wire Test according to IEC 695-2-1 650 °C, Photobiological safety group EN62778 RG 0 Standards CE/CB/RoHS ISO9001:Quality Certificate Minimum Waranty 2 Yea QTY: 20 ea |  |  |  |
| 42 | FLOODLIGHT LED 20 W 3000 K WT Nominal wattage 20.00 W, Operating mode Electronic control gear (ECG) Nominal voltage 220…240 V Power factor λ >0.90 Mains frequency 50/60 Hz - Photometrical data: Color temperature 3000 K Luminous flux 2000 lm Luminous efficacy 100 lm/W, Standard deviation of color matching ≤5 sdcm Light color (designation) - Warm White Color rendering index Ra >80 Colors & materials Body material Polycarbonate (PC) Housing color White, Ambient temperature range -20…50 °C Lifespan: Lifespan L70 at 25 °C ≥ 30000 h, Minimum Warranty ≥ 2 Years, Number of switching cycles 30000, Protection class IK (shock resistance) IK07, Photobiological safety group EN62778 Photobio. Safety group acc. to EN62471 RG 0, Protection class I, Type of protection IP65 Standards CE/CB/TÜV SÜD/EAC/RoHSISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 10 ea |  |  |  |
| 43 | FLOODLIGHT LED 50 W 3000 K BK Nominal wattage 50.00 W-Operating mode Electronic control gear (ECG)-Nominal voltage 220-240 V Power factor λ >0.90-Mains frequency 50/60 Hz-Photometrical data: Color temperature 3000 K Luminous flux 5000 lm, Luminous efficacy 100 lm/W, Standard deviation of color matching ≤5 sdcm Light color (designation) Warm White - Color rendering index Ra >80, Beam angle 100 ° Dimension& Weight: L 187.0 mm W 216.0 mm H 81.0 mm Product weight 950.00 g Body material Polycarbonate (PC) Housing color Black, Ambient temperature range -20…50 °C Lifespan: Lifespan L80 at 25 °C ≥ 30000 h, Minimum Warranty ≥ 2 Years Number of switching cycles 30000, Protection class IK (shock resistance) IK07, Photo biological safety group EN62778, Photobio. Safety group acc. to EN62471 RG 0, Protection class I, Type of protection IP65, Standards CE/CB/TÜV SÜD/EAC/RoHS ISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 10 ea |  |  |  |
| 44 | LED FLOOD LIGHT 37W LED POWER -OUT DOOR USE - IP-65-110-220 VOLT 1130 Punto LED - COB HOUSING: in die-cast aluminium with cooling fins. REFLECTOR: in hammered pre-anodised 99.99 aluminium for LED versions. DIFFUSER: tempered glass, 5 mm thick, resistant to thermal shock and impacts (UNI EN 12150-1:2001 tests) . COATING: the standard powder coating consists of a first metal surface pre-treatment stage and of single layer of UV-stabilised, corrosion and salt resistant polyester powder coating. STANDARD SUPPLY: complete with galvanised and coated bracket. EQUIPMENT: during maintenance or lamp replacement, special safety rings keep the glass hooked to the housing. REGULATORY STANDARD: manufactured pursuant to EN 60598 and a degree of protection IP65IK08 pursuant to EN 60529 tested after a 7 day accelerated ageing. Class of insulation I. Wind surface: 300 cm². Power factor: ≥0.9. Ta-20+40°C life 50.000h to 70% L70B50 Photobiological safety class: exempt group EN62471 Wind surface: L:283cm² F:416cm². ISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 10 ea |  |  |  |
| 45 | FLOODLIGHT 135 W 4000 K IP65 BK Nominal wattage 135.00 W Operating mode Integrated LED driver, Nominal voltage 220-240 V Power factor λ 0.90 Mains frequency 5060 Hz Photometrical data: Color temperature 4000 K Luminous flux 15000 lm Luminous efficacy 110 lm/W, Standard deviation of color matching ≤5 sdcm, Light color (designation) Cool White Color rendering index Ra ≥80, Beam angle 100 ° x 100 ° Dimension & Weight: L 300.0 mm W 270.0 mm H 76.0 mm, Product weight 3900.00 g Body material Polycarbonate (PC), Housing color: Black. Ambient temperature range -20…50 °C. Lifespan L80 at 25 °C ≥ 30000 h, Minimum Warranty ≥ 2 Years Number of switching cycles 30000 Protection class IK (shock resistance) IK07, Photo biological safety group EN62778, Photobio. Safety group acc. to EN62471 RG 0, Protection class I, Type of protection IP65, Standards CE/CB/TÜV SÜD/EAC/RoHS ISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 10 ea |  |  |  |
| 46 | LED LIGHT FITTING SURFACE MOUNTED WITH SENSOR Nominal Wattage:15W EQ. Watts:100W Luminous Flux: 900LM Voltage: 220-240V Frequency: 50-60HZ CRI>80 IP Rating :IP44 DETECTION RANGE 360 Properties : 360°With Motion Sensor Color: LH30-0500-6400K ISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 20 ea |  |  |  |
| 47 | LED DOWN LIGHT FITTING 24 WATT Nominale Wattege: 24W EQ. WATTS100W Luminous Flux:1750LM Voltage: 220-240V Frequency: 50-60HZ CRI>80 Beam Angle: 120 Material Die Cast: ALUMINUM Led Type :SMD LifeTime:30.000H Mounted Type:Suspended Ceiling ISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 20 ea |  |  |  |
| 48 | HIGH BAY LED 120 W 6500 K BK Nominal Wattage 120.00 W Operating mode Electronic control gear (ECG) Nominal voltage 100…240 V.Power factor λ >0.95 Mains frequency 50/60 Hz,Photometrical data:Color temperature 6500 K Luminous efficacy 110 lm/W. Luminous flux 13200 lm Standard deviation of color matching ≤5 sdcm.Light color (designation) Cool Daylight Color rendering index Ra >80. Light technical data. Beam angle 90.00 °.UGR lateral 21.UGR longitudinal 21 Dimensions & weight:D 295.0 mm.H 143.0 mm.Product weight 4000.00 g Cable length 1500 mm Colors & materials:Body material Aluminum.Housing color Black.Product color Black Temperatures & operating conditions: Ambient temperature range -30…50 °C Lifespan: Lifespan L70 at 25 °C 50000 h. Lifespan L80 at 25 °C 35000 h Mounting type Suspended/Surface. Mounting location Ceiling Capabilities Protection class IK (shock resistance) IK08 Photobiological safety group RG 0 Type of protection IP65 Standards CE/CB/TÜV SÜD/EAC/RoHS ISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 5 ea |  |  |  |
| 49 | LED PANEL 1200 40 W 3000 K WT Nominal wattage 40.00 W, Operating mode Electronic control gear (ECG), Nominal voltage 220…240 V Power factor λ >0.95 Mains frequency 50/60 Hz Color temperature 3000 K, Luminous flux 4000 lm, Luminous efficacy 100 lm/W Standard deviation of color matching ≤6 sdcm, Light color: Warm White, Color rendering index Ra >80 Beam angle 120 °Dimension & Weight: L 1195 mm W 295.0 mm H 10.5 mm, weight 3000.00 g. Housing color White, Ambient temperature range -10…45 °C, Lifespan L90 at 25 °C 20000 h, Number of switching cycles 25000. Mounting type Recessed/Suspended/Surface Protection class IK (shock resistance) IK06, Glow Wire Test according to IEC 695-2-1 650 °C, Photobiological safety group EN62778 RG 0, Protection class II Type of protection IP20 Standards CE/CB/TÜV SÜD/EAC/RoHS. ISO9001:Quality Certificate Minimum Waranty 2 Year QTY: 20 ea |  |  |  |
| 50 | LIGHT FITTING_FULL SPECTRUM FLOURECENT_4x14W_230V_FOR ARMSTRONG CEILING. SOFT, BALANCED ILLUMINATION AND GLARE-FREE LIGHT INVIRONMENT. PERFORATED BAFFLES AND CURVED REFLECTOR FOR AN IDEAL COMBINATION OF DIRECT AND INDIRECT LIGHT. FIXTURES COMPLETE WITH T5 HIGH OUTPUT FULL SPECTRUM FLOURECENT BULBS. UltraLux or equivalent. QTY: 10 ea |  |  |  |
| 51 | WATERPROOF LIGHT FIXTURES WITH INTEGRATED LED 150 CM (Surface mount) •Power : 56 W •Luminous flux : 4500 lm •Color temperature : 4000 K •Power factor : >0,9 •CRI : RA >80 •Lifespan : 25.000 h •Housing material : ABS+PC •Dimensions : 1480x86x72 mm •IP grade : IP65 •Input voltage : 220-240 V / 50-60 Hz •EAN : 3858890448436 ISO9001:Quality Certificate Minimum Warranty 2 Year QTY: 2 ea |  |  |  |
| 52 | Slim LED Light Fitting 120 Cm – 36Watt Input voltage: 85-265V AC • Wattage: 36W • San’an SMD2835 LED chips • Colour temperature: 6000K (Cool White) • Lumens: 2950 LM • CRI: >82 • Life time: 30,000hrs • Aluminium body and PC cover • Beam angle: 160° • No heat radiation, no flickering • IP20 for indoor use • Not suitable for dimming • Length: 1200 mm ISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 20 ea |  |  |  |
| 53 | SMD LED STREET LIGHT LSJR 100W Technical Specification: Model LSJR100W. Rated Power 100Watt. Light Intensity(lumen) 8000lm.Colour Temperature( kelvin) 4500K. Colum Instalation Height max 6 Mtr and Holder Diameter Ǿ 50. LxWxH 700x270x75mm. Energy Efficiency Calss A. IP Portection IP65. Ambient Temperature -20+50C.Protection Class: I . Rated Frewuency 50-60Hz. Color Rendering Index >75RA.Voltage 100-240Volt. Number Switch of Cycles 15.000. Lifespan 25.000 h. Light Beam Angel 120°. Minimum Waranty 2 Years. ISO9001:Quality Certificate Minimum Warranty 2 Years QTY: 1 ea |  |  |  |
| 54 | LIGHT TUBE_FLUORECENT_240V__58W_150CM_L58W-840 QTY: 100 ea |  |  |  |
| 55 | LIGHT TUBE_FLUORECENT_240V__14W_60CM_14W-840 QTY: 50 ea |  |  |  |
| 56 | LED BULB GLOBE STYLE E 27 Rated power 10 W Color temperature 4000 K Light beam angle 250 ° Light intensity 800 lumen Type of socket E27 Light intensity 800 lumen Number of switching cycles 15.000 ISO9001:Quality Certificate Minimum Waranty 1 Year QTY: 50 ea |  |  |  |
| 57 | HIGH POWER SMS LED LAMP 40W E - 40 230VAC, 40 W, 4000 K, E40, 3600 lm, 270° Type of socket E40, Rated power 40 W Substitution of traditional light bulbs 350W Light intensity (lumen) 3600lm Colour temperature (Kelvin) 4000K Light beam angle L 270° D × L 105x250 mm Energy efficiency class A ISO9001:Quality Certificate Minimum Waranty 1 Year QTY: 20 ea |  |  |  |
| 58 | LIGHT BULB SAVING ENERGY 15 WATT-E27 QTY: 100 ea |  |  |  |
| 59 | DOWN LIGHT BULB PL-C-2 P-18 WATT-DAYLIGHT QTY: 100 ea |  |  |  |
| 60 | 3W GU10 SMD POWER LED BULB, EQUAL TO 35W HALOGEN BULB, WARM WHITE QTY: 1 ea |  |  |  |
| 61 | LED LIGHT FITTING BALLAST/TRANSFORMER 40-50 WATT-INPUT 185-260VOLT AC.OUTPUT 30-40VOLT DC QTY: 10 ea |  |  |  |
| 62 | LED DRIVER 80 WATT-INPUT 185-260VOLT AC.OUTPUT 30-100VOLT DC QTY: 10 ea |  |  |  |
| 63 | LIGHT FITTING BALLAST 230 VOLT,4x14W_ELECTRONIC,WARM STARTING,ELXc,T5 QTY: 10 ea |  |  |  |
| 64 | LIGHT FITTING BALLAST_FLUORESCENT_240V_50HZ_1X58W QTY: 20 ea |  |  |  |
| 65 | LIGHT FITTING BALLAST-SODIUM_240V_50HZ_400W QTY: 10 ea |  |  |  |
| 66 | LIGHT BULB HOLDER E40-PORCELAN (FOR STREET LIGHTS) QTY: 50 ea |  |  |  |
| 67 | STARTER_4-65W_STANDARD GLOW TYPE FOR FLUORECENT FITTING QTY: 1000 ea |  |  |  |
| SWITCHES/MOTION SENSORS/PHOTOCELL SENSORS |  |  |  |  |
| 68 | WALL SWITCH ROTARY TYPE SINGLE SURFACE 32A 220V QTY: 10 ea |  |  |  |
| 69 | SWITCH BELL 220V SURFACE MOUNTED WHITE COLOR QTY: 10 ea |  |  |  |
| 70 | SWITCH_LIGHT_220V_10A_DOUBLE_SURFACE MOUNTED QTY: 30 ea |  |  |  |
| 71 | SWITCH_LIGHT_220V_10A_ALTERNATIV_SURFACE MOUNTED QTY: 50 ea |  |  |  |
| 72 | SWITCH_MOTOR PROTECTION_1.6-2.5A QTY: 1 ea |  |  |  |
| 73 | SWITCH_SELECTOR_ROTARY_OFF-ON_ 63A_690V_3-POLE_FLUSH MOUNTED QTY: 1 ea |  |  |  |
| 74 | CHANGE OVER SWITCH_4POLE_160A-1-0-2 QTY: 1 ea |  |  |  |
| 75 | PHOTOCELL SENSOR AUTOMATIC LIGHT CONTROL SWITCH 16 AMPERE QTY: 10 ea |  |  |  |
| THERMOSTAT/ THERMOMETER |  |  |  |  |
| 76 | THERMOSTAT_SINGLE PHASE 220V /16 A-STANDARD FOR WATER BOILER QTY: 1 ea |  |  |  |
| 77 | DIGITAL THERMOSTAT PROGRAMMABLE-MULTISTAGE-INPUT/OUTPUT 230 VOLT-FOR CENTRAL HEATING QTY: 1 ea |  |  |  |
| CABLE PIPE & CABLE TRUNKING |  |  |  |  |
| 78 | PVC PIPE -FOR ELECTRICAL INSTALATION PG-32MM QTY: 100 m |  |  |  |
| 79 | PVC PIPE HOLDERS-SIZE:16mm - 32 mm QTY: 1 ea |  |  |  |
| 80 | CABLE PROTECTIVE PIPE-UNDERGROUND-20MM-RIBBED QTY: 200 m |  |  |  |
| 81 | CABLE PROTECTIVE PIPE-UNDERGROUND-70MM-RIBBED QTY: 200 m |  |  |  |
| 82 | TRUNKING_STANDARD_120X60MM WHITE PVC_COMPLETE WITH COVER QTY: 100 m |  |  |  |
| 83 | TRUNKING_STANDARD_40X25MM WHITE PVC_COMPLETE WITH COVER QTY: 100 m |  |  |  |
| 84 | OPTILINE PVC TRUNKING WITH SEPERATOR -TRUNKING BASE 95X55MM COMLETE WITH COVER QTY: 1 m |  |  |  |
| CABLE CONNECTORS/CABLE TAPE/CABLE TIES/HEAT SHRINK TUBING |  |  |  |  |
| 85 | REUSABLE PUSH IN WIRE CONNECTOR SCREWLESS 5 HOLES 0.75-4 mm 2 Packing of 50 Pcs per Box Flammability according to UL94 Rated Current(A) In max 32A Rated Insulation Voltage 400 Volt Material of Insulation Polyamide PA 6.6 Ambient Temperature -10.. +55 C Protection Degree IP20 Material of Connecting Element: from tinned Copper (E-CU-SN) According to CE Standards ISO9001:Quality Certificate Minimum Waranty 1 Year QTY: 1 box |  |  |  |
| 86 | INSULATED SCREW CABLE CONNECTOR _16M-10mm-(BLOCK 5 PCS.) QTY: 10 ea |  |  |  |
| 87 | TERMINAL BLOCK_12-WAY_WHITE PVC_6MM2 QTY: 10 ea |  |  |  |
| 88 | DIN RAIL TERMINAL BLOCK,POLYAMID,35MM2 QTY: 10 ea |  |  |  |
| 89 | TAPE_INSULATION_BLACK_ON ROLL PVC 0.13mmX19mmX20M QTY: 50 ea |  |  |  |
| 90 | SELF –AMALGAMATING TAPE BLACK 10m×19mm, -40°C-75°C Technical data Thickness: 0,5 mm ± 0,05 mm Tensile strength: min. 1 N/mm 2 Elongation: min. 500 % Specific resistance: min. 10 14 Ohm × cm Breakdown strength: min. 20 kV/mm Operation temperature: -40 ˚C ... +75 ˚C They are not oil resistant, so they must not be subjected to the effect of hydrocarbons ISO9001:Quality Certificate Minimum Waranty 1 Year QTY: 30 ea |  |  |  |
| 91 | CABLE TIES_368X7.6MM_WEATHER RESISTANT-PACK 100EA QTY: 1 pack |  |  |  |
| 92 | FLAME RETARDANT HEAT SHRINK TUBING FOR 150 MM2 WIRE (SCHRUMPFSCHLAUCH) QTY: 10 m |  |  |  |
| MIXED ELECTRIC MATERIAL |  |  |  |  |
| 93 | SEALED RECHARRGEABLE BATTERY 12VOLT -1.3Ah-NP1.3-12 QTY: 2 ea |  |  |  |
| 94 | EARTH ROD_2 mtr LONG-COPPER INCLUDING CABLE CONECTORS QTY: 10 ea |  |  |  |
| 95 | ELECTRO CURRENT READING – 3 PHASE METER DIGITAL 120A QTY: 1 ea |  |  |  |
| 96 | EXTRACTOR FAN FOR TOILET 150 MM QTY: 5 ea |  |  |  |
| 97 | HEATER ELEMENTS FOR BOILERS 1200W-220V(TYPE-ISEA,ARISTON,LEOV,BIRA) QTY: 10 ea |  |  |  |
| 98 | RELAY, STEP, MODULAR, 230VAC,16A,Mounting Type:DIN Rail QTY: 1 ea |  |  |  |
| 99 | RELAY_8 PIN_230V AC COIL_10A_DPCO_ROUND PINS_PLUG IN TYPE_WITH TEST BUTTON & INDICATOR QTY: 1 ea |  |  |  |
| 100 | RELAY_OVER/UNDER VOLTAGE_3P-SENSING_300-500V PHASE-PHASE_0.5-10 SEC DELAY_5-25% QTY: 1 ea |  |  |  |
| 101 | SPACE HEATER FAN_ELECTRIC_380V_3PHASE_9KW+B184 QTY: 1 ea |  |  |  |
| 102 | LOCK FOR ELECTRIC PANEL(SELL PANEL LOCK) QTY: 10 ea |  |  |  |
| 103 | VOLTAGE TESTER(screwdriver) 220-250 VOLT-0.6x3.5 MM-WITH INSULATED BLADE QTY: 10 ea |  |  |  |
| 104 | VOLTAGE REGULATOR 3 PHASE -60 KVA-FULL AUTOMATIC,SERVO MOTOR_INPUT160-430 VOLT/OUTPUT 230-400 VOLT_ AC/VOLTAGE QTY: 1 ea |  |  |  |

- Shall read now:

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| CABLES |  |  |  |  |
| 1 | CABLE H 0 5 VV-F 3X2.5 MM2 FLEXIBLE-Cu QTY: 200 m |  |  |  |
| 2 | CABLE H 0 5 VV-F 5X2.5 MM2 FLEXIBLE-Cu QTY: 400 m |  |  |  |
| 3 | CABLE H 0 5 VV-F 5X16 MM2 FLEXIBLE-Cu QTY: 10 m |  |  |  |
| 4 | CABLE H 0 5 VV-F 4X150 MM2 FLEXIBLE-Cu QTY: 10 m |  |  |  |
| 5 | CABLE_NYM-J_(PPY CABLE) 5X2.5 MM2_RIGID-Cu QTY: 400 m |  |  |  |
| 6 | CABLE_NYM-J_(PPY CABLE) 5X6 MM2_RIGID –Cu QTY: 200 m |  |  |  |
| 7 | POWER CABLE_NYY-J_5X10MM2_Cu QTY: 20 m |  |  |  |
| 8 | POWER CABLE_NYY-J_4X16 MM2 Cu QTY: 20 m |  |  |  |
| 9 | POWER CABLE_NYY-J_4X50MM2-Cu QTY: 10 m |  |  |  |
| 10 | CABLE_H 07 V-K_ 6MM2_SINGLE WIRE_FLEXIBL BLACK/BLUE/YELLOW-GREEN-Cu QTY: 100 m |  |  |  |
| 11 | CABLE_H 07 V-K_ 70MM2_SINGLE WIRE_FLEXIBLE_YELLOW-GREEN-Cu QTY: 100 m |  |  |  |
| 12 | SELF REGULATING HEATING CABLE-230V- POWER 20 - 25 W/m QTY: 200 m |  |  |  |
| CABLE LUGS |  |  |  |  |
| 13 | CABLE LUG_ 2.5MM2_RING_N8_CU_CRIMPING TYPE_INSULATED_BLUE QTY: 20 ea |  |  |  |
| 14 | CABLE LUG_ 50MM2_RING_N10_CU_CRIMPING TYPE_UNINSULATED QTY: 20 ea |  |  |  |
| CIRCUIT BREAKERS/RESIDUAL CURRENT CIRCUIT BREAKERS/INDUSTRIAL FUSE, (MANUFACTURER ABB-HAGER OR EQUIVALENT) |  |  |  |  |
| 15 | MOLDED CASE CIRCUIT BREAKER, 4POLE ,160A QTY: 2 ea |  |  |  |
| 16 | RESIDUAL CURRENT CIRCUIT BREAKER - FID 4 POLE 63A/0.500mA QTY: 4 ea |  |  |  |
| 17 | CIRCUIT BREAKER_MINIATURE_MCB_1-POLE_ 25A_TYPE C QTY: 60 ea |  |  |  |
| 18 | CIRCUIT BREAKER_MINIATURE_MCB_1-POLE_ 40A_TYPE C QTY: 60 ea |  |  |  |
| 19 | CIRCUIT BREAKER_MINIATURE_MCB_3-POLE_ 63_TYPE C QTY: 50 ea |  |  |  |
| 20 | FUSE_INDUSTRIAL KNIFE_gL-gG_500V_ 160A_NH00 QTY: 12 ea |  |  |  |
| 21 | FUSE_INDUSTRIAL KNIFE_gL-gG_500V_ 400A_NH2 QTY: 12 ea |  |  |  |
| 22 | BUSBAR SUPPORT FOR CIRCUIT BREACKERS_3 CONDUCTOR SYSTEM_CU -1 m QTY: 10 ea |  |  |  |
| FUSE BASE /FUSE HOLDERS |  |  |  |  |
| 23 | NH FUSE SWITCH DISCONNECTOR,63A,3 POLE,CONNECTION TOP OR BOTTON GY ROTATING QTY: 2 ea |  |  |  |
| 24 | RAIL_DIN_"TOP HAT"-PROFILE_PLAIN_IN 1MTR LENGTH QTY: 10 ea |  |  |  |
| MANUFACTURER (ABB OR EQUIVALENT) |  |  |  |  |
| 25 | CONTACTOR 3 POLE ,COIL CONTACTOR, 16A- 230V/AC QTY: 10 ea |  |  |  |
| 26 | CONTACTOR 3 POLE 2NO/2NC,COIL CONTACTOR, 25A- 230V/AC QTY: 4 ea |  |  |  |
| 27 | CONTACTOR 3 POLE 2NO/2NC,COIL CONTACTOR,800A- 230V/AC QTY: 2 ea |  |  |  |
| 28 | OVERLOAD RELAY_FOR CONTACTOR_3-POLE_16-32A QTY: 2 ea |  |  |  |
| SOCKET/PLUGS |  |  |  |  |
| 29 | ELECTRIC SOCKETS-DOUBLE -230 VOLT 16 A.FOR MOUNTING OF PVC OPTILINE TRUNKING COMPLETE WITH FRONT PLATE QTY: 10 ea |  |  |  |
| 30 | SOCKET FLUSH SINGLE 220V -16A QTY: 50 ea |  |  |  |
| 31 | SOCKET_ STANDARD_2P+E_230V_SINGLE_ROUND_ SURFACE MOUNT QTY: 200 ea |  |  |  |
| 32 | SOCKET_INDUSTRIAL_3P+N+E_32A_400V_RED_SURFACE MOUNT_IP44 QTY: 20 ea |  |  |  |
| 33 | SOCKET_INDUSTRIAL_3P+N+E_63A_400V_RED_FREE_STRAIGHT_IP44 QTY: 20 ea |  |  |  |
| 34 | SOCKET_STANDARD_2P+E_230V_DOUBLE_SURFACE MOUNT_WHITE QTY: 200 ea |  |  |  |
| 35 | PLUG_ STANDARD_2P+E_230V_WHITE -16A QTY: 100 ea |  |  |  |
| 36 | PLUG_INDUSTRIAL_3P+N+E_63A_400V_ROUND_RED_FREE_STRAIGHT_IP44 QTY: 4 ea |  |  |  |
| 37 | PLUG_RELAY SOCKET 11PIN ROUND PIN QTY: 10 ea |  |  |  |
| DISTRIBUTION FUSE BOX & CONNECTION BOX |  |  |  |  |
| 38 | DISTRIBUTION BOX PVC 24 MCB SURFACE WALL MOUNTED QTY: 2 ea |  |  |  |
| 39 | DISTRIBUTION PANEL,POLYSTER,60X40X20CM,1 DOOR,WATER PROOF,SURFACE WALL MOUNTED QTY: 2 ea |  |  |  |
| 40 | CONNECTION BOX_240X190X90MM_GREY PVC_WIT SCREW ON TR. LID & PG KNOCKOUTS_IP55_COMPLETE WITH CLANDS QTY: 40 ea |  |  |  |
| LIGHT FITTINGS/LIGHT TUBES/LIGHT BULBS/LIGHT BALLAST/STARTERS, (MANUFACTURER, OSRAM-EGLO OR EQUIVALENT) |  |  |  |  |
| 41 | PANEL LED DALI 600 40 W 4000 K +/- 100K Nominal wattage 40.00 W, Operating mode Electronic control gear (ECG). Nominal voltage 220…240 V Mains frequency 50/60 Hz Power factor λ >0.90. Color temperature 4000 K, Color rendering index Ra >80. Light color (designation) Cool White Luminous flux 4000 lm Luminous efficacy 100 lm/W. Standard deviation of color matching ≤6 sdcm. Beam angle 120 °. Dimension & Weight: L 595.0 mm W 595.0 mm H 10.5 mm Product weight 3250.00 g. +/- 100g Product color White, Body material Aluminum, Lifespan L90 at 25 °C 20000 h. Number of switching cycles 25000, Mounting type Recessed/Suspended/Surface. Type of protection IP20, Protection class II, Protection class IK (shock resistance) IK06, Glow Wire Test according to IEC 695-2-1 650 °C, Photobiological safety group EN62778 RG 0 Standards CE/CB/RoHS ISO9001:Quality Certificate Minimum Waranty 2 Yea QTY: 20 ea |  |  |  |
| 42 | FLOODLIGHT LED 20 W 3000 K WT Nominal wattage 20.00 W, Operating mode Electronic control gear (ECG) Nominal voltage 220…240 V Power factor λ >0.90 Mains frequency 50/60 Hz - Photometrical data: Color temperature 3000 K Luminous flux 2000 lm Luminous efficacy 100 lm/W, Standard deviation of color matching ≤5 sdcm Light color (designation) - Warm White Color rendering index Ra >80 Colors & materials Body material Polycarbonate (PC) Housing color White, Ambient temperature range -20…50 °C Lifespan: Lifespan L70 at 25 °C ≥ 30000 h, Minimum Warranty ≥ 2 Years, Number of switching cycles 30000, Protection class IK (shock resistance) IK07, Photobiological safety group EN62778 Photobio. Safety group acc. to EN62471 RG 0, Protection class I, Type of protection IP65 Standards CE/CB/TÜV SÜD/EAC/RoHSISO9001:Quality Certificate Minimum Warranty 2 Years QTY: 10 ea |  |  |  |
| 43 | FLOODLIGHT LED 50 W +/- 100 K BK Nominal wattage 50.00 W-Operating mode Electronic control gear (ECG)-Nominal voltage 220-240 V Power factor λ >0.90-Mains frequency 50/60 Hz-Photometrical data: Color temperature 3000 K Luminous flux 5000 lm, Luminous efficacy 100 lm/W, Standard deviation of color matching ≤5 sdcm Light color (designation) Warm White - Color rendering index Ra >80, Beam angle 100 ° Dimension& Weight: L 187.0 mm W 216.0 mm H 81.0 mm Product weight 950.00 g Body material Polycarbonate (PC) Housing color Black, Ambient temperature range -20…50 °C Lifespan: Lifespan L80 at 25 °C ≥ 30000 h, Minimum Warranty ≥ 2 Years Number of switching cycles 30000, Protection class IK (shock resistance) IK07, Photo biological safety group EN62778, Photobio. Safety group acc. to EN62471 RG 0, Protection class I, Type of protection IP65, Standards CE/CB/TÜV SÜD/EAC/RoHS ISO9001:Quality Certificate Minimum Warranty 2 Years QTY: 10 ea |  |  |  |
| 44 | LED FLOOD LIGHT 37W LED POWER -OUT DOOR USE - IP-65-110-220 VOLT 1130 Punto LED - COB HOUSING: in die-cast aluminium with cooling fins. REFLECTOR: in hammered pre-anodised 99.99 aluminium for LED versions. DIFFUSER: tempered glass, 5 mm thick, resistant to thermal shock and impacts (UNI EN 12150-1:2001 tests) . COATING: the standard powder coating consists of a first metal surface pre-treatment stage and of single layer of UV-stabilised, corrosion and salt resistant polyester powder coating. STANDARD SUPPLY: complete with galvanised and coated bracket. EQUIPMENT: during maintenance or lamp replacement, special safety rings keep the glass hooked to the housing. REGULATORY STANDARD: manufactured pursuant to EN 60598 and a degree of protection IP65IK08 pursuant to EN 60529 tested after a 7 day accelerated ageing. Class of insulation I. Wind surface: 300 cm². Power factor: ≥0.9. Ta-20+40°C life 50.000h to 70% L70B50 Photobiological safety class: exempt group EN62471 Wind surface: L:283cm² F:416cm². ISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 10 ea |  |  |  |
| 45 | FLOODLIGHT 135 W 4000 +/- 100 K IP65 BK Nominal wattage 135.00 W Operating mode Integrated LED driver, Nominal voltage 220-240 V Power factor λ 0.90 Mains frequency 5060 Hz Photometrical data: Color temperature 4000 K Luminous flux 15000 lm Luminous efficacy 110 lm/W, Standard deviation of color matching ≤5 sdcm, Light color (designation) Cool White Color rendering index Ra ≥80, Beam angle 100 ° x 100 ° Dimension & Weight: L 300.0 mm W 270.0 mm H 76.0 mm, Product weight 3900.00 g Body material Polycarbonate (PC), Housing color: Black. Ambient temperature range -20…50 °C. Lifespan L80 at 25 °C ≥ 30000 h, Minimum Warranty ≥ 2 Years Number of switching cycles 30000 Protection class IK (shock resistance) IK07, Photo biological safety group EN62778, Photobio. Safety group acc. to EN62471 RG 0, Protection class I, Type of protection IP65, Standards CE/CB/TÜV SÜD/EAC/RoHS ISO9001:Quality Certificate Minimum Warranty 2 Years QTY: 10 ea |  |  |  |
| 46 | LED LIGHT FITTING SURFACE MOUNTED WITH SENSOR Nominal Wattage:15W +/- 1W EQ. Watts:100W Luminous Flux: ≥ 900LM Voltage: 220-240V Frequency: 50-60HZ CRI>80 IP Rating :IP44 DETECTION RANGE 360 Properties : 360°With Motion Sensor Color: LH30-0500-6400K LH30-5000-6000K ISO9001:Quality Certificate Minimum Warranty 2 Years QTY: 20 ea |  |  |  |
| 47 | LED DOWN LIGHT FITTING 24 WATT Nominale Wattege: 24W EQ. WATTS100W Luminous Flux:1750LM Voltage: 220-240V Frequency: 50-60HZ CRI>80 Beam Angle: 120 Material Die Cast: ALUMINUM Led Type :SMD LifeTime:30.000H Mounted Type:Suspended Ceiling ISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 20 ea |  |  |  |
| 48 | HIGH BAY LED 120 W 6500 K BK Nominal Wattage 120.00 W Operating mode Electronic control gear (ECG) Nominal voltage 100…240 V.Power factor λ >0.95 Mains frequency 50/60 Hz,Photometrical data:Color temperature 6500 K Luminous efficacy 110 lm/W. Luminous flux 13200 lm Standard deviation of color matching ≤5 sdcm.Light color (designation) Cool Daylight Color rendering index Ra >80. Light technical data. Beam angle 90.00 °.UGR lateral 21.UGR longitudinal 21 Dimensions & weight:D 295.0 mm.H 143.0 mm.Product weight 4000.00 g Cable length 1500 mm Colors & materials:Body material Aluminum.Housing color Black.Product color Black Temperatures & operating conditions: Ambient temperature range -30…50 °C Lifespan: Lifespan L70 at 25 °C 50000 h. Lifespan L80 at 25 °C 35000 h Mounting type Suspended/Surface. Mounting location Ceiling Capabilities Protection class IK (shock resistance) IK08 Photobiological safety group RG 0 Type of protection IP65 Standards CE/CB/TÜV SÜD/EAC/RoHS ISO9001:Quality Certificate Minimum Warranty 1 Year QTY: 5 ea |  |  |  |
| 49 | LED PANEL 1200 40 W 3000 +/- 100 K WT Nominal wattage 40.00 W, Operating mode Electronic control gear (ECG), Nominal voltage 220…240 V Power factor λ >0.95 Mains frequency 50/60 Hz Color temperature 3000 K, Luminous flux 4000 lm, Luminous efficacy 100 lm/W Standard deviation of color matching ≤6 sdcm, Light color: Warm White, Color rendering index Ra >80 Beam angle 120 °Dimension & Weight: L 1195 mm W 295.0 mm H 10.5 mm, weight 3000.00 g. Housing color White, Ambient temperature range -10…45 °C, Lifespan L90 at 25 °C 20000 h, Number of switching cycles 25000. Mounting type Recessed/Suspended/Surface Protection class IK (shock resistance) IK06, Glow Wire Test according to IEC 695-2-1 650 °C, Photobiological safety group EN62778 RG 0, Protection class II Type of protection IP20 Standards CE/CB/TÜV SÜD/EAC/RoHS. ISO9001:Quality Certificate Minimum Waranty 2 Year QTY: 20 ea |  |  |  |
| 50 | LIGHT FITTING_FULL SPECTRUM FLOURECENT_4x14W_230V_FOR ARMSTRONG CEILING. SOFT, BALANCED ILLUMINATION AND GLARE-FREE LIGHT INVIRONMENT. PERFORATED BAFFLES AND CURVED REFLECTOR FOR AN IDEAL COMBINATION OF DIRECT AND INDIRECT LIGHT. FIXTURES COMPLETE WITH T5 HIGH OUTPUT FULL SPECTRUM FLOURECENT BULBS. UltraLux or equivalent. QTY: 10 ea |  |  |  |
| 51 | WATERPROOF LIGHT FIXTURES WITH INTEGRATED LED 150 CM (Surface mount) •Power : maximum 56 W •Luminous flux : 4500 lm •Color temperature : 4000 K +/- 100 K •Power factor : >0,9 •CRI : RA >80 •Lifespan : 25.000 h •Housing material : ABS+PC •Dimensions : 1480x86 +/- 15mm x72 +/- 15mm •IP grade : IP65 •Input voltage : 220-240 V / 50-60 Hz •EAN : 3858890448436 ISO9001:Quality Certificate Minimum Warranty 2 Years QTY: 2 ea |  |  |  |
| 52 | Slim LED Light Fitting 120 Cm – 36Watt Input voltage: 85-265V AC • Wattage: 36W • San’an SMD2835 LED chips • Colour temperature: 6000K +/- 100 (Cool White) • Lumens: 2950 LM • CRI: >82 • Life time: 30,000hrs • Aluminium body and PC cover • Beam angle: 160° • No heat radiation, no flickering • IP20 for indoor use • Not suitable for dimming • Length: 1200 mm ISO9001:Quality Certificate Minimum Warranty 2 Years QTY: 20 ea |  |  |  |
| 53 | SMD LED STREET LIGHT LSJR 100W Technical Specification: Model LSJR100W. Rated Power 100Watt. Light Intensity(lumen) 8000lm.Colour Temperature( kelvin) 4500K. Colum Instalation Height max 6 Mtr and Holder Diameter Ǿ 50. LxWxH 700x270x75mm. Energy Efficiency Calss A. IP Portection IP65. Ambient Temperature -20+50C.Protection Class: I . Rated Frewuency 50-60Hz. Color Rendering Index >75RA.Voltage 100-240Volt. Number Switch of Cycles 15.000. Lifespan 25.000 h. Light Beam Angel 120°. Minimum Warranty 2 Years. ISO9001:Quality Certificate Minimum Warranty 2 Years QTY: 1 ea |  |  |  |
| 54 | LIGHT TUBE_FLUORECENT_240V__58W_150CM_L58W-840 QTY: 100 ea |  |  |  |
| 55 | LIGHT TUBE_FLUORECENT_240V__14W_60CM_14W-840 QTY: 50 ea |  |  |  |
| 56 | LED BULB GLOBE STYLE E 27 Rated power 10 W Color temperature 4000 K Light beam angle 250 ° Light intensity 800 lumen Type of socket E27 Light intensity 800 lumen Number of switching cycles 15.000 ISO9001:Quality Certificate Minimum Waranty 1 Year QTY: 50 ea |  |  |  |
| 57 | HIGH POWER SMS LED LAMP 40W E - 40 230VAC, 40 W, 4000 K, E40, 3600 lm, 270° Type of socket E40, Rated power 40 W Substitution of traditional light bulbs 350W Light intensity (lumen) 3600lm Colour temperature (Kelvin) 4000K Light beam angle L 270° D × L 105x250 mm Energy efficiency class A ISO9001:Quality Certificate Minimum Waranty 1 Year QTY: 20 ea |  |  |  |
| 58 | LIGHT BULB SAVING ENERGY 15 WATT-E27 QTY: 100 ea |  |  |  |
| 59 | DOWN LIGHT BULB PL-C-2 P-18 WATT-DAYLIGHT QTY: 100 ea |  |  |  |
| 60 | 3W GU10 SMD POWER LED BULB, EQUAL TO 35W HALOGEN BULB, WARM WHITE QTY: 1 ea |  |  |  |
| 61 | LED LIGHT FITTING BALLAST/TRANSFORMER 40-50 WATT-INPUT 185-260VOLT AC.OUTPUT 30-40VOLT DC QTY: 10 ea |  |  |  |
| 62 | LED DRIVER 80 WATT-INPUT 185-260VOLT AC.OUTPUT 30-100VOLT DC QTY: 10 ea |  |  |  |
| 63 | LIGHT FITTING BALLAST 230 VOLT,4x14W_ELECTRONIC,WARM STARTING,ELXc,T5 QTY: 10 ea |  |  |  |
| 64 | LIGHT FITTING BALLAST_FLUORESCENT_240V_50HZ_1X58W QTY: 20 ea |  |  |  |
| 65 | LIGHT FITTING BALLAST-SODIUM_240V_50HZ_400W QTY: 10 ea |  |  |  |
| 66 | LIGHT BULB HOLDER E40-PORCELAN (FOR STREET LIGHTS) QTY: 50 ea |  |  |  |
| 67 | STARTER_4-65W_STANDARD GLOW TYPE FOR FLUORECENT FITTING QTY: 1000 ea |  |  |  |
| SWITCHES/MOTION SENSORS/PHOTOCELL SENSORS |  |  |  |  |
| 68 | WALL SWITCH ROTARY TYPE SINGLE SURFACE 32A 220V QTY: 10 ea |  |  |  |
| 69 | SWITCH BELL 220V SURFACE MOUNTED WHITE COLOR QTY: 10 ea |  |  |  |
| 70 | SWITCH_LIGHT_220V_10A_DOUBLE_SURFACE MOUNTED QTY: 30 ea |  |  |  |
| 71 | SWITCH_LIGHT_220V_10A_ALTERNATIV_SURFACE MOUNTED QTY: 50 ea |  |  |  |
| 72 | SWITCH_MOTOR PROTECTION_1.6-2.5A QTY: 1 ea |  |  |  |
| 73 | SWITCH_SELECTOR_ROTARY_OFF-ON_ 63A_690V_3-POLE_FLUSH MOUNTED QTY: 1 ea |  |  |  |
| 74 | CHANGE OVER SWITCH_4POLE_160A-1-0-2 QTY: 1 ea |  |  |  |
| 75 | PHOTOCELL SENSOR AUTOMATIC LIGHT CONTROL SWITCH 16 AMPERE QTY: 10 ea |  |  |  |
| THERMOSTAT/ THERMOMETER |  |  |  |  |
| 76 | THERMOSTAT_SINGLE PHASE 220V /16 A-STANDARD FOR WATER BOILER QTY: 1 ea |  |  |  |
| 77 | DIGITAL THERMOSTAT PROGRAMMABLE-MULTISTAGE-INPUT/OUTPUT 230 VOLT-FOR CENTRAL HEATING QTY: 1 ea |  |  |  |
| CABLE PIPE & CABLE TRUNKING |  |  |  |  |
| 78 | PVC PIPE -FOR ELECTRICAL INSTALATION PG-32MM QTY: 100 m |  |  |  |
| 79 | PVC PIPE HOLDERS-SIZE:16mm - 32 mm QTY: 1 ea |  |  |  |
| 80 | CABLE PROTECTIVE PIPE-UNDERGROUND-20MM-RIBBED QTY: 200 m |  |  |  |
| 81 | CABLE PROTECTIVE PIPE-UNDERGROUND-70MM-RIBBED QTY: 200 m |  |  |  |
| 82 | TRUNKING_STANDARD_120X60MM WHITE PVC_COMPLETE WITH COVER QTY: 100 m |  |  |  |
| 83 | TRUNKING_STANDARD_40X25MM WHITE PVC_COMPLETE WITH COVER QTY: 100 m |  |  |  |
| 84 | OPTILINE PVC TRUNKING WITH SEPERATOR -TRUNKING BASE 95X55MM COMLETE WITH COVER QTY: 1 m |  |  |  |
| CABLE CONNECTORS/CABLE TAPE/CABLE TIES/HEAT SHRINK TUBING |  |  |  |  |
| 85 | REUSABLE PUSH IN WIRE CONNECTOR SCREWLESS 5 HOLES 0.75-4 mm 2 Packing of 50 Pcs per Box Flammability according to UL94 Rated Current(A) In max 32A Rated Insulation Voltage 400 Volt Material of Insulation Polyamide PA 6.6 Ambient Temperature -10.. +55 C Protection Degree IP20 Material of Connecting Element: from tinned Copper (E-CU-SN) According to CE Standards ISO9001:Quality Certificate Minimum Waranty 1 Year QTY: 1 box |  |  |  |
| 86 | INSULATED SCREW CABLE CONNECTOR _16M-10mm-(BLOCK 5 PCS.) QTY: 10 ea |  |  |  |
| 87 | TERMINAL BLOCK_12-WAY_WHITE PVC_6MM2 QTY: 10 ea |  |  |  |
| 88 | DIN RAIL TERMINAL BLOCK,POLYAMID,35MM2 QTY: 10 ea |  |  |  |
| 89 | TAPE_INSULATION_BLACK_ON ROLL PVC 0.13mmX19mmX20M QTY: 50 ea |  |  |  |
| 90 | SELF –AMALGAMATING TAPE BLACK 10m×19mm, -40°C-75°C Technical data Thickness: 0,5 mm ± 0,05 mm Tensile strength: min. 1 N/mm 2 Elongation: min. 500 % Specific resistance: min. 10 14 Ohm × cm Breakdown strength: min. 20 kV/mm Operation temperature: -40 ˚C ... +75 ˚C They are not oil resistant, so they must not be subjected to the effect of hydrocarbons ISO9001:Quality Certificate Minimum Waranty 1 Year QTY: 30 ea |  |  |  |
| 91 | CABLE TIES_368X7.6MM_WEATHER RESISTANT-PACK 100EA QTY: 1 pack |  |  |  |
| 92 | FLAME RETARDANT HEAT SHRINK TUBING FOR 150 MM2 WIRE (SCHRUMPFSCHLAUCH) QTY: 10 m |  |  |  |
| MIXED ELECTRIC MATERIAL |  |  |  |  |
| 93 | SEALED RECHARRGEABLE BATTERY 12VOLT -1.3Ah-NP1.3-12 QTY: 2 ea |  |  |  |
| 94 | EARTH ROD_2 mtr LONG-COPPER INCLUDING CABLE CONECTORS QTY: 10 ea |  |  |  |
| 95 | ELECTRO CURRENT READING – 3 PHASE METER DIGITAL 120A QTY: 1 ea |  |  |  |
| 96 | EXTRACTOR FAN FOR TOILET 150 MM QTY: 5 ea |  |  |  |
| 97 | HEATER ELEMENTS FOR BOILERS 1200W-220V(TYPE-ISEA,ARISTON,LEOV,BIRA) QTY: 10 ea |  |  |  |
| 98 | RELAY, STEP, MODULAR, 230VAC,16A,Mounting Type:DIN Rail QTY: 1 ea |  |  |  |
| 99 | RELAY_8 PIN_230V AC COIL_10A_DPCO_ROUND PINS_PLUG IN TYPE_WITH TEST BUTTON & INDICATOR QTY: 1 ea |  |  |  |
| 100 | RELAY_OVER/UNDER VOLTAGE_3P-SENSING_300-500V PHASE-PHASE_0.5-10 SEC DELAY_5-25% QTY: 1 ea |  |  |  |
| 101 | SPACE HEATER FAN_ELECTRIC_380V_3PHASE_9KW+B184 QTY: 1 ea |  |  |  |
| 102 | LOCK FOR ELECTRIC PANEL(SELL PANEL LOCK) QTY: 10 ea |  |  |  |
| 103 | VOLTAGE TESTER(screwdriver) 220-250 VOLT-0.6x3.5 MM-WITH INSULATED BLADE QTY: 10 ea |  |  |  |
| 104 | VOLTAGE REGULATOR 3 PHASE -60 KVA-FULL AUTOMATIC,SERVO MOTOR_INPUT160-430 VOLT/OUTPUT 230-400 VOLT_ AC/VOLTAGE QTY: 1 ea |  |  |  |

All other terms and conditions of the Tender Dossier remain unchanged. The above alterations and corrections to the Tender Dossier are integral part of the Tender Dossier.

EoT.