MINUTES OF THE SITE VISIT

Ref: EuropeAid/138739/IH/SUP/XK /Fuel Supply No.5 (PROC/696/17)

| Venue : | Farmed Building, Dining Facility, ground floor Str. Muharrem Fejza p.n. 10000, Prishtine, Kosovo |
| --- | --- |
| Date : | 02/05/2017 |
| Begin : | 10:30 hrs |
| End : | 11:30 hrs |
| Subject : | Site visit at 300 Deshmoret e 1903 Street 40000, Mitrovica – Kosovo |

The optional site visit related to the tender for the “Fuel Supply” took place on 
2nd of May 2017 at 10:30 hrs at 300 Deshmoret e 1903 Street 40000, Mitrovica – Kosovo.

A. 	Overview of the Meeting.

Representatives of one (1) company attended the site visit.

EULEX Procurement Section opened the meeting and reminded the attendees about procedural rules and the deadline for request for any clarification from the Contracting Authority (i.e. 10 May 2017 at 15:00hrs). The Contracting Authority will reply to all clarification requests by 19 May 2017.

Attendees were strongly advised to respect the submission deadline; no offer will be accepted and examined if received after the set deadline (i.e. 30 May 2017 at 15:00 hrs).

B. 	Technical Information.

EULEX Project Manager briefed all present about the project and specified line item 8 of the technical specifications as below:

Mitrovica: Contractor shall either construct and manage a fuel distribution point within the Contracting Authority Compound in Mitrovica EULEX Centre with a minimum capacity of 30,000 liters diesel as per Appendix 5, fuel specifications as per appendix 3,

or

Contractor shall make available and manage a minimum one fuel dispenser with two nozzles connected, within a Contractor’s fuel distribution point, on a main access routes to/from Mitrovica, located not more than five (5) kilometres radial distance from EULEX Centre Mitrovica with a minimum capacity of 30,000 liters diesel as per Appendix 5, fuel specifications as per appendix 3,and fulfilling the requirements for items number 4, 5 and 6 above.

After visiting the site and having a better overview, representatives have been reminded that if any questions which they may deem substantial for their offer to the Procurement Section at e-mail: tenders@eulex-kosovo.eu.

A certificate of attendance was issued to each attendee. Attendees were reminded to include the certificate of their site visit in their tender.

The site visit ended at 11:30 hrs.

End of Text.